RheoApp 	version 2.4.4.19

Release date: 11 april 2023

Below is a list of things that are new and/or changed in this version compared with 
the previous version.

- Defining a gap for a parallel plate measuring geometry other than the default 1.0 mm did not result in correct measurement results for that gap value. This only applies to measurement started from the instruments touch screen, that is, NOT to measurements started from RheoWin. This has been solved.

----------

Contact Thermo Fisher Scientific

If you have any questions and or suggestions regarding the MARS (firmware)

please send an e-mail to:

support.mc.de@thermofisher.com

----------

This file was last updated on: 11.03.2023 by Jint Nijman.